SPECIFICATION

| Specification | pH | Temperature |
| --- | --- | --- |
| Range: | 0.00-14.00pH | 0-55°C |
| Resolution: | 0.01pH | 0.1°C |
| Accuracy: | ±0.1pH | ± 1°C |
| ATC: |  | 5-50°C |
| Battery: | 4x1,5Volt | button cell |
| Operating Temperature: | 0-50°C |  |
| Dimension: | 170mm x 36mm x 23mm |
| weight: | 91g |  |
| Scope of delivery |  |  |
| pH - Temperature Meter |  |
| Calibration Solution pH 6,864 (25°C) liquid |
| Calibration Solution pH 4.003 (25°C) liquid |
| Instruction Manual + Warranty |  |
| robust blue plastic box |  |  |
| 4 x batteries 1,5Volt button cell AG - 13 |